## Fire Code Compliance
Question | Answer | Total Score | Possible Options | Final Score
Are all sprinkler heads unobstructed with at least 18-inch clearance? |  | 1 | Yes/No
Are all fire alarms working and audible throughout the building? |  | 1 | Yes/No
Are all emergency exit lights functioning and properly illuminating paths? |  | 1 | Yes/No
Are flammable materials stored in approved containers away from ignition sources? |  | 1 | Yes/No
Do all fire doors operate correctly and close fully? |  | 1 | Yes/No
Are fire extinguishers accessible and within service date? |  | 1 | Yes/No
Is there a clear area of at least 3 feet around all heating equipment? |  | 1 | Yes/No
Are electrical panels accessible with a clearance of at least 36 inches? |  | 1 | Yes/No
Are all cooking equipment properly ventilated and clean? |  | 1 | Yes/No
Is there a written and displayed fire evacuation plan? |  | 1 | Yes/No
Are all combustible materials stored safely and securely? |  | 1 | Yes/No
Are the building's address numbers clearly visible from the street? |  | 1 | Yes/No
Are all corridors and hallways free of obstructions? |  | 1 | Yes/No
Is there a functioning fire alarm monitoring service? |  | 1 | Yes/No
Are manual fire alarm pull stations visible and accessible? |  | 1 | Yes/No
Are smoke and carbon monoxide detectors installed and functioning? |  | 1 | Yes/No
Is the use of extension cords compliant with fire safety regulations? |  | 1 | Yes/No
Are there records and logs of all fire safety system maintenance? |  | 1 | Yes/No
Is fire safety training provided annually to all employees? |  | 1 | Yes/No
Are there procedures in place for handling and disposing of hazardous waste? |  | 1 | Yes/No

## Occupancy Inspections
Question | Answer | Total Score | Possible Options | Final Score
Does the building's current use comply with its designated occupancy class? |  | 1 | Yes/No
Are clear and accurate maximum occupancy limit signs displayed in all required areas? |  | 1 | Yes/No
Have any recent renovations or layout changes been reviewed for compliance with occupancy classifications? |  | 1 | Yes/No
Is there sufficient egress capacity for the current occupancy levels? |  | 1 | Yes/No
Are all exits marked with the correct occupancy signs? |  | 1 | Yes/No
Is there adequate lighting in all occupied areas to meet safety standards? |  | 1 | Yes/No
Are emergency plans displayed and accessible in all major areas frequented by occupants? |  | 1 | Yes/No
Do occupancy indicators (like people counters) function correctly to ensure limits are not exceeded? |  | 1 | Yes/No
Are all areas designated for specific occupancies (like assembly areas) equipped with appropriate safety measures? |  | 1 | Yes/No
Is the furniture arrangement compliant with the fire code and does it allow for unimpeded egress? |  | 1 | Yes/No
Are the fire load and occupancy type correctly accounted for in fire safety planning? |  | 1 | Yes/No
Are safety drills conducted regularly in line with the occupancy level and type? |  | 1 | Yes/No
Are records of occupancy and associated safety inspections up-to-date and accessible? |  | 1 | Yes/No
Is there a system in place to monitor and control occupancy levels dynamically during peak times? |  | 1 | Yes/No
Are temporary structures or additions within the building compliant with occupancy and safety regulations? |  | 1 | Yes/No

## Electrical Systems Inspections
Question | Answer | Total Score | Possible Options | Final Score
Are there any visible signs of wear or damage to electrical wires throughout the building? |  | 1 | Yes/No
Is the circuit breaker panel easily accessible, properly labeled, and free from obstructions? |  | 1 | Yes/No
Do all outlets and switches function correctly without any signs of overheating or damage? |  | 1 | Yes/No
Are Ground Fault Circuit Interrupter (GFCI) outlets tested regularly and functioning properly? |  | 1 | Yes/No
Is there any unauthorized use of extension cords as permanent wiring? |  | 1 | Yes/No
Are all electrical panels clear of unauthorized storage and clutter? |  | 1 | Yes/No
Have all electrical installations been inspected and approved by a certified electrician? |  | 1 | Yes/No
Are there sufficient outlets to prevent overloading from high-power devices? |  | 1 | Yes/No
Is aluminum wiring, if present, checked periodically for loose connections and overheating? |  | 1 | Yes/No
Are surge protectors and uninterruptible power supplies (UPS) used appropriately to prevent electrical damage? |  | 1 | Yes/No
Do all motor-driven equipment have proper electrical connections and safety switches? |  | 1 | Yes/No
Is the insulation on wiring intact and free from cracks and abrasion? |  | 1 | Yes/No
Are electrical maintenance records up-to-date and compliant with regulatory standards? |  | 1 | Yes/No
Is there a regular schedule for replacing or upgrading old or outdated electrical equipment? |  | 1 | Yes/No
Are temporary electrical setups, such as those used for events or construction, installed and monitored according to safety standards? |  | 1 | Yes/No

## Means of Egress
Question | Answer | Total Score | Possible Options | Final Score
Are all designated exits unobstructed and clearly marked? |  | 1 | Yes/No
Is the exit signage illuminated and visible from a distance? |  | 1 | Yes/No
Do all exit doors function properly and open outwardly where required? |  | 1 | Yes/No
Are the paths leading to exits free of any storage or furniture that could impede evacuation? |  | 1 | Yes/No
Is emergency lighting functional and adequately illuminating all egress paths? |  | 1 | Yes/No
Are stairwells properly lit and free of debris or storage? |  | 1 | Yes/No
Do all exit corridors meet the minimum width required by fire safety regulations? |  | 1 | Yes/No
Are exit routes clearly marked and easy to follow for someone unfamiliar with the building? |  | 1 | Yes/No
Are the floor surfaces along egress paths in good condition and non-slip? |  | 1 | Yes/No
Are egress paths from upper floors, such as via escape ladders or exterior stairways, in good working order? |  | 1 | Yes/No
Is there clear signage indicating the route to secondary exits when the primary exit is not accessible? |  | 1 | Yes/No

## Fire Protection System Tests
Question | Answer | Total Score | Possible Options | Final Score
Is the sprinkler system fully operational and free from physical damage or blockages? |  | 1 | Yes/No
Are the fire alarms tested regularly and do they function correctly in all tested scenarios? |  | 1 | Yes/No
Are all fire extinguishers within their expiration date and properly charged? |  | 1 | Yes/No
Do the smoke detectors function correctly and are they free of obstructions? |  | 1 | Yes/No
Is there clear documentation of the last service date for each component of the fire protection system? |  | 1 | Yes/No
Are all manual pull stations accessible, clearly marked, and functional? |  | 1 | Yes/No
Has the fire suppression system (e.g., FM200, CO2 systems) been tested according to the manufacturer’s specifications? |  | 1 | Yes/No
Are the water pressures within the required ranges for the sprinkler system to function effectively? |  | 1 | Yes/No
Are voice evacuation and public address systems clear and audible throughout the building? |  | 1 | Yes/No
Do all fire doors automatically close when the fire alarm system is activated? |  | 1 | Yes/No
Have all fire suppression systems been inspected and serviced this year? 11 |  | 1 | Yes/No

## Special Inspections
Question | Answer | Total Score | Possible Options | Final Score
Are all hazardous materials stored in designated and approved areas? |  | 1 | Yes/No
Is there clear labeling on all containers storing hazardous materials, indicating their contents and hazard level? |  | 1 | Yes/No
Are Material Safety Data Sheets (MSDS) available and accessible near areas where hazardous materials are stored? |  | 1 | Yes/No
Are spill containment measures in place and adequate for the types and volumes of hazardous materials stored? |  | 1 | Yes/No
Do all employees handling hazardous materials have the required training and certifications? |  | 1 | Yes/No
Is there proper ventilation in areas where hazardous materials are stored or used? |  | 1 | Yes/No
Are fire suppression systems in hazardous material areas specifically designed to address the type of hazard present? |  | 1 | Yes/No
Are regular inspections conducted to check for leaks, deterioration, or other potential hazards associated with storage containers? |  | 1 | Yes/No
Is there an emergency response plan specifically tailored to incidents involving hazardous materials? |  | 1 | Yes/No
Are there appropriate safety showers and eyewash stations easily accessible in areas with hazardous materials? |  | 1 | Yes/No
Are secondary containment measures adequate to prevent the spread of materials in case of spillage? |  | 1 | Yes/No
Is there a regular review and update of safety procedures related to hazardous materials? |  | 1 | Yes/No
Are detection systems for toxic or explosive gases in place and functioning correctly? |  | 1 | Yes/No
Do safety inspections include checking for proper grounding and bonding of containers and storage areas for flammable materials? |  | 1 | Yes/No
Is the compatibility of stored hazardous materials checked to prevent accidental dangerous reactions? |  | 1 | Yes/No